Promina Node Site Coordinator (NSC)

Inspection Checklist

| Nr. | Question | Yes | No | N/A |
| --- | --- | --- | --- | --- |
|  | Documentation |  |  |  |
| 1.a. | Does the NSC have the following reference materials in the node site library? Are they updated with current changes as posted on the applicable websites? |  |  |  |
| 1.b. | DODD 8500.1, Information Assurance (IA), October 24, 2002 |  |  |  |
| 1.c. | DOD 5200.8-R, Physical Security Program, May 1991 |  |  |  |
| 1.d. | CJCSI 6211.02B, Defense Information System Network and Connected Systems, 31 July 2003 |  |  |  |
| 1.e. | DISA Circular (DISAC) 310-55-9, Base Level Support for the Defense Information System Network (DISN), 5 November 1999 |  |  |  |
| 1.f. | DISAC 310-70-1 DII Technical Control, 25 June 1998 |  |  |  |
| 1.g. | DISAC 310-130-1, Submission of Telecommunications Service Requests, 4 April 2000 |  |  |  |
| 1.h. | DISAC 300-85-1, Reporting of DCS Facility and Link Data, 6 April 1993 |  |  |  |
| 1.i. | DISAC 310-55-1, Status Reporting, 21 Jan 2000 |  |  |  |
| 1.j. | Equipment manuals as applicable to site configuration: |  |  |  |
| 1.k. | Future use |  |  |  |
| 1.k.1 | Future use |  |  |  |
| 1.k.2 | - GPS Timing Manual |  |  |  |
| 1.k.3 | - CSU/DSU Manual |  |  |  |
| 1.k.4 | - SPX or VCX Manual |  |  |  |
| 1.k.5 | - Modem Manual |  |  |  |
| 1.k.6 | - ADNX Manual |  |  |  |
| 1.k.7 | - Echo Canceller Manual |  |  |  |
| 1.k.8 | - Promina 800 Series Manual |  |  |  |
| 1.k.9.a | * Node Level Documentation Manual |  |  |  |
| 1.k.9.b | * Card Level Documentation Manual |  |  |  |
| 1.k.9.c | * Network Level Documentation Manual |  |  |  |
|  | Provisioning |  |  |  |
| 2.a. | Generate Delayed Service Reports (DSRs) for each delayed service, every 30 days or after a specified start date is not met. |  |  |  |
| 2.b. | Are In Effect Reports (IERs) being generated for those services that have been started? |  |  |  |
| 3.a. | Are maintenance records current, in accordance with the site maintenance schedule, and readily available? |  |  |  |
| 3.b. | Do the Promina node air filters need to be cleaned or replaced? |  |  |  |
| 4.a. | Are Promina trouble tickets maintained on file for the past 90 days? |  |  |  |
| 4.b | Are trouble tickets being actively tracked for corrective actions and completion dates? |  |  |  |
| 5. | Is there an SOP that provides guidance for coordinating Site preparation, Node installation, and activation equipment circuits at the Promina Node Site? |  |  |  |
| 6.a. | Is there an access roster that identifies individuals who have authorized access to the Node Site? |  |  |  |
| 6.b. | Is the roster current? |  |  |  |
| 7.a. | Are all associated classified and unclassified components marked and labeled? |  |  |  |
| 7.b. | Are all cables on the node labeled to assist during installation and troubleshooting? |  |  |  |
| 8. | Has grounding wire been properly installed from the DISN cabinets to the facility safety ground? |  |  |  |
| 9. | Does the site retain records of on-site assistance provided to the Monitoring Center controllers on a 24-hour, 7-day-a-week basis? |  |  |  |
| 10. | Does the NSC have documented provisions for local site assistance in case of node or circuit degradation or outage to ensure 24-hour, 7 days-per-week continuous operation of the node? |  |  |  |
| 11. | Does the site have records showing that local onsite assistance was provided within 2 hours after receiving a request from the RNOSC? |  |  |  |
| 12. | Does the site electronic mail account have the capability to efficiently perform functions as the NSC? |  |  |  |
| 13. | Does the NSC maintain a list of telephone numbers for the Network Monitoring Center, the GNSC? |  |  |  |
| 15. | Does the site maintain a schedule identifying Authorized Service Interruptions (ASIs) planned for the node site and are these coordinated with the GNSC, DISA, and local representatives? |  |  |  |
| 16. | Are there SOPs in place that provide local site personnel guidance for fault isolation and reporting and recall procedures for issues with the Promina node site equipment? |  |  |  |
|  | Configuration/Equipment |  |  |  |
| 17.a. | Are the Promina network diagrams being updated as new communications services are activated, which will reflect the current network connections? |  |  |  |
| 17.b. | Does the NSC maintain a schedule of up coming communication activations for at least 90 days out? |  |  |  |
| 18. | Does the NSC add new equipment and remove discarded equipment from the current Promina inventory list to maintain the actual equipment/card inventory onsite? |  |  |  |
| 21.a. | Is the Promina dial-in modem turned on and functioning properly (if applicable)? |  |  |  |
| 21.b. | Is the Promina remote dial-in modem cabled to the SPX-50 or VCX and connected to a RJ-11 jack? |  |  |  |
|  | Miscellaneous |  |  |  |
| 24. | Is maintenance being performed on the station clock/stratum 1 equipment (if applicable)? |  |  |  |
| 25. | Does the site have adequate test equipment to perform troubleshooting? Multi-meter Fireberd |  |  |  |
| 28. | Is an electrostatic strap readily available? |  |  |  |
| 31. | Are all cables neatly run? |  |  |  |
| 32. | Are all cables tied down to a support fixture? |  |  |  |
| 33. | Are all cabinets properly grounded? |  |  |  |
| 35. | Are all K-patches labeled to indicate the CCSD? |  |  |  |
| 36. | Are all DSX patch panels labeled to indicate the trunk or digroup? |  |  |  |
| 37. | Is there a terminal connection into the node? |  |  |  |

USEFUL WEB SITES

DISA Circulars are available at HREF="http://www.disa.mil/pubs/pubs01.html"

Department of Defense documents are available at HREF="http://www.dtic.mil/whs/directives/"

CJCS Documents are available at

HREF="http://www.dtic.mil/doctrine/"

IDNX documents are available at HREF="http://www.net.com/esc/manuals/pdf/idnx/index.html"

Promina documents are available at HREF="http://www.net.com/esc/manuals/pdf/promina/index.html"

REQUIRED PROMINA MAINTENANCE CHECKLIST

DAILY

Perform a visual check of all the lights (visual alarms) on the ADNX, Promina, SPX, VCX and etc.

MONTHLY

Blueprint is readily available to trace cable runs.

System Diagram of node is displayed.

Check date of KG batteries and replace if the date exceeds one year.

CONTINUAL

All patch panels are labeled to indicate CCSD.

DD Form 1441s (or equivalent) reflect accurate circuit assignments and diagrams.

All cables are neatly run and tied down to a support fixture.

SPECIAL INSTRUCTIONS

If any of the above checks result in an unsatisfactory condition take the appropriate actions to correct the deficiencies or notify the GNSC.